PART 7 
ELECTRIC CONDUCTIVITY OF SOLUTIONS

I. MOTION OF IONS IN ELECTRIC FIELD.

The electric current in solutions is transferred by ions and not by electrons as it is in metals.

For this reason the ionic motion in electric field has to be discussed prior to the discussion of electric conductivity.

When a solution is subjected to electric field, cations (positive ions) start to move towards cathode (negative electrode) and anions (negative ions) start to move towards anode (positive electrode). Motion of an ion in the electric field is a broken line, as lots of collisions with other ions and solvent molecules occur, when the ion is moving.

The real way of ion therefore is not known, but the projection of its motion on the direction of electric field is used for calculation of the speed of ion's motion. As usually, speed of ion, v, is calculated as the distance, covered by ion, divided by time:

The speed of ion itself is not a characteristic value for the ion, because the speed depends on the intensity of electric field, too. Another value, called mobility of ion is used, when it is necessary to compare the motion of different ions in electric field.

Mobility of ion is defined as the speed of ion, divided by intensity of electrical field, E (volts/cm):

where

U is mobility of ion.

Usually U+ is used as a symbol for mobility of a positive ion and U- is used as a symbol for mobility of a negative ion.

Fig.7.1. Motion of ion in electrical field

I.2. FACTORS, AFFECTING THE MOBILITY OF ION

The mobility of ion is affected by the following factors:

1) viscosity of solution, the greater it is, the smaller will be the mobility of ion,

2) hydration of ion - the greater is hydration, the smaller becomes mobility, because the ion has to carry molecules of water with it when it is moving. There are 3 more factors, that affect mobility of ion through their action to hydration:

a) sign of ion's charge - a cation is always less hydrated, than an anion of the same size. This phenomenon can be explained as follows. Ions are hydrated, because their charge electrically attracts the partly charged ends of water molecules. In the case of anion, the negative charge of ion is carried by electrons, that are situated close to the outer surface of the ion, therefore the effective charge on the surface of ion is rather great and many water molecules are attracted. A cation, having the same size, is positively charged. The positive charge is located on the nucleus, which is, as we know, placed in the middle of ion. For this reason the effective charge on the surface of ion is lower, then in case of anion, having same absolute value of charge and same size, and, hence, cation attracts smaller number of water molecules.

b) the second factor, acting on the mobility through hydration, is the size of ion - the greater is the size of ion, the smaller is its hydration, because the force of electric attraction is determined by Coulomb's law:

,

where

F is the force of electric attraction,

q1 and q2 are the charges of the two particles,

r is the distance between the two particles.

From this formula one can see, that, the greater is size of ion (radius r), the smaller is the force, that attracts a water molecule and, hence, small ions are more hydrated, than big ones.

c) the third factor, acting through hydration is charge of ion. The greater is the charge of ion, the more hydrated it is and, hence, the smaller is its mobility. (Here one could say, that, the greater is the charge of ion, the more it is attracted by the appropriate pole of electric field, but the effect of charge on hydration here is more impressive and for this reason univalent ions, like K+, Na+, Cl- are more mobile, than polyvalent, as Ca2+, Al2+, SO42- etc.)

3) Next factor, affecting the mobility of ion is temperature. Action of temperature is complex - on one hand, a raise of temperature increases the thermal motion of water molecules and more collisions occur on the ion's way to the appropriate pole, thus decreasing the mobility of the ion, on the other hand, the raise of temperature decreases the viscosity of solution and the hydration of ions and, thus, increases the mobility of ion. Finally the effect of temperature on hydration and viscosity is greater, than its effect ion the number of collisions and the mobilities of ions increase for about 2%, when t° is raised for 1 Kelvin.

4) the mobility of ion is affected by the concentration of solution - the greater is concentration, the more collisions with ions of opposite sign, that move in the opposite direction, happen on the ion's way, and the mobility grows smaller. Mobility increases at dilution of solution and at high enough dilution (a low enough concentration) reaches a constant value, U called mobility at infinite dilution. Values of U for most of ions are measured and given in the chemical tables.

I.3.ANOMALOUS MOBILITIES OF H+ AND OH- IONS.

These two ions have abnormally great mobilities, that are 8-10 times greater than the mobilities of all other ions. This could seem a strange phenomenon, especially for H+, because H+ is very small and, thus, has a great hydration. The explanation of this phenomenon is, that H+ and OH- ions have a special mechanism of transfer in water solutions. In contrary to all other ions, the motion of H+ and OH- ions in the electric field is not a broken line, discussed before. As it will be shown, the motion of H+ and OH- ions in electric field is very similar, because the motion of OH- ions can finally be reduced to motion of H+ ions in the opposite direction. An H+ ion in the solution exists as a H2O and its motion towards the negative pole in fact consists of repeated transfers of the proton H+ from one water molecule to another one, then to next one, etc.:

The motion of an OH- ion in the electric field is carried out as repeated transfers of H+ ion in the opposite direction, resulting as a motion of OH-

As a result of all this, the motion of H+ and OH- in electric field is a straight line (compare to the situation in fig.7.1) and therefore the mobilities of these two ions are great. This property of H+ and OH- ions is used in conductometric titration (see further).

II. EQUIVALENT CONDUCTIVITY

Equivalent conductivity of an electrolyte is the conductivity, observed, when 1 equivalent of electrolyte (in dissolved state) is situated between two electrodes, that are located in a distance of 1 cm from each other, see fig.7.2.

Fig.7.2. Illustration of equivalent conductivity

As a whole equivalent of electrolyte is situated between the electrodes, the equivalent conductivity is increasing by dilution (decrease of concentration), because for an equal amount of electrolyte (1 equivalent) it is much easier to transfer current, if the solution is more diluted. The concentration dependence of the equivalent conductivity () is different for strong and weak electrolytes, see fig.7.3.

Fig.7.3. Dependence of equivalent conductivity on solution concentration for strong and weak electrolytes.

In general, the equivalent conductivity depends on the dissociation degree of electrolyte and on the mobilities of ions. For a strong electrolyte, as KCl, the dissociation degree (the real ) is equal to  at any concentration. The slight increase of  at a decrease of concentration occurs due to the increase of ionic mobilities. For a weak electrolyte, as CH3COOH, at great concentrations  is very low, therefore  is low, too.

The slight increase of  with the decrease of concentration occurs both due to the growth of mobilities and due to the growth of .

As dissociation degree is increasing by dilution of solution

at very low concentrations  starts to grow rapidly, as the dissociation degree of all the weak electrolytes at infinite dilution reaches the value 1 , too. Any electrolyte at infinite dilution reaches a characteristic for it value of equivalent conductivity, called the equivalent conductivity at infinite dilution . This is related to the ionic mobilities at infinite dilution:

(Kohlrausch's law)

where

F is Faraday's number.

are cation and anion mobilities at infinite dilution

As the ionic mobilities at infinite dilution can be found in the chemical tables,  an easily be calculated.

III. DETERMINATION OF THE DISSOCIATION DEGREE  BY MEANS OF CONDUCTIVITY MEASUREMENTS.

Equivalent conductivity, , at a given concentration depends on the dissociation degree of the electrolyte, or, more precisely, it is proportional to the dissociation degree:

 = b,

where b is a proportionality coefficient.

At infinite dilution,

= I but  = 

From here one can easily see, that the proportionality coefficient b is in fact equal to :

= 

If the equivalent conductivity of an electrolyte is measured and the equivalent conductivity of the same compound at infinite dilution is calculated from Kohlrausch's law, dissociation degree is found as:

For a strong electrolyte the value of , thus obtained, is the imaginary , as the real dissociation degree of a strong electrolyte is 1.

When  of the weak electrolyte is determined, one can calculate its dissociation constant, using Ostwald's dilution law:

Measurements of the electric conductivity is one of the most common methods for determination of dissociation constants.

IV.CONDUCTOMETRIC TITRATION

Conductometric titration is a method of titration, in which the endpoint is indicated, using a rapid change of the conductivity of solution. As well as potentiometric titration, it is used in the cases, if the solution is dark or turbid and the use of color indicators becomes impossible, or there is no color indicator for the reaction, that is used at titration.

The main application of conductometric titration is its use for acid - base titration. One important advantage of this method is, that a mixture of strong and weak base can be titrated and two separate endpoints - one for strong and one for weak acid (or base) can be found, and consequently, concentrations of strong and weak acid can be determined separately (in fact, this can also be done, using potentiometric titration).

Conductometric acid-base titration uses the abnormally high mobilities of H+ and OH- ions. Practically this titration is carried out in such a way, that two similar electrodes (usually platinum or graphite) are immersed into the solution and the resistance of solution is measured. Value of reciprocal resistance I/R is used instead of real conductivity because I/R is proportional to conductivity and it is easier to measure the resistance of a solution,

Conductometric titration curves will be discussed for titrations of strong acid, weak acid and a mixture of strong and weak acid by a strong base (NaOH).

IV.I. TITRATION OF STRONG ACID (HCl)

When HCl is titrated by NaOH, the reaction is

H+ +Cl- + => Na+ + Cl- + H2O

Equation is written in ionic form in order to have a possibility to judge about the electric conductivity of solution. Here and further in the reaction equations the titrant is "wrapped" to show, that, as soon as it is added, it reacts and therefore it should not be taken into account, when considering the conductivity before the titration endpoint.

As one can see, Cl- ions appear in both sides of equation, therefore they don't change the conductivity of solution. The result of the reaction of HCl with NaOH, from conductivity point of view is, that H+ ions, that are extremely mobile, are changed to Na+ ions, that have a "normal" mobility. While there is HCl in the solution, all the added NaOH is immediately used in the reaction with HCl (and, therefore there can be no NaOH in the solution yet).

Thus, before the endpoint of titration, the addition of NaOH solution causes a decrease of conductivity - the more H+ ions are replaced by Na+ ions, the lower becomes the conductivity of solution, see fig.7.4.

Fig.7.4. Conductometric titration curve for titration of a strong acid,  by NaOH.

At the endpoint of titration all the HCl is used up and further addition of NaOH causes an increase of conductivity due to the appearance of OH- ions, which, as well as H+ ions have a very great mobility. The titration endpoint (the volume Vendp. of NaOH in fig.7.4., used for reaction with HCl) is found from the titration curve as the abscissa of the break point of the titration curve.

IV.2. TITRATION OF A WEAK ACID (CH3COOH) BY NaOH

When CH3COOH is titrated by NaOH, the reaction equation looks as follows:

CH3COOH +  => CH3COO- + Na + + H2O

Acetic acid can be considered as non-dissociated from conductivity point of view - even at rather little concentrations its association degree is about 1%. CH3COONa  as a salt is a strong electrolyte and therefore is completely dissociated. As one can see from the reaction equation, the reaction of acetic acid with NaOH from conductivity point of view is a change of non-dissociated acid, having no electric conductivity, to a salt, that has a measurable electric conductivity (NaOH doesn't affect the conductivity before endpoint, as it is immediately used in the reaction while acetic acid is still present).

Fig.7.5. Conductometric titration curve for titration of a weak acid
 by NaOH.

This means, that already before the titration endpoint, conductivity of the solution must increase - the more NaOH is added, the more non-dissociated acid is replaced by the salt. Increase of the conductivity before the endpoint is slow (see  in fig.7.5.), because Na+ and CH3COO- ions have small mobilities.

As soon as the last molecule of acetic acid is used, free NaOH appears in the solution and conductivity starts to grow quickly, as the concentration of the extremely mobile OH- ion increases. Actually, the branch of the titration curve after the endpoint is absolutely identical to the one at titration of a strong acid. The endpoint of titration (Vendpoint) again is found as the abscissa of the break point of titration curve.

IV.3. TITRATION OF A MIXTURE OF STRONG AND WEAK ACID (HCl + CH3COOH).

In order to understand, why it is possible to detect the endpoints for each acid separately, one has to compare the dissociation reactions of both acids:

HCl => H+ + Cl-

CH3COOH   H+ + CH3COO-

Fig.7.6. Conductometric titration curve for titration of a mixture of strong and weak acids by NaOH.

HCl as a strong electrolyte is dissociated completely and H+ ions from the dissociation of HCl oppress the dissociation of acetic acid (as they are products of the dissociation equilibrium of acetic acid).

For this reason, while HCl is present in solution, acetic acid remains in molecular form only, and, consequently, all H+ ions, that react with added OH- ions, come from HCl. Thus, HCl ids used first and the neutralization of acetic acid begins after all HCl is used.

According to this, the titration curve in fig.7.6 has 3 branches -

1) branch of strong acid,

2) branch of weak acid,

3) branch of NaOH.

The curve has 2 break points (VI and VII) and therefore two separate volumes of NaOH can be found - one for neutralization of the strong acid and one for neutralization of the weak acid.

V.ELECTRIC CURRENT IN BIOLOGICAL OBJECTS

V.1.TRANSFER MECHANISMS OF DIRECT AND ALTERNATING CURRENT IN TISSUES

When living cells are subjected to outer electric field, different conductivity mechanisms are observed for direct current and for alternating current.

When direct electric field is switched on, all the positive ions start motion towards cathode (negative electrode) and all the negative ions start motion to anode (positive electrode), therefore a pulse of electric current is observed at the first moment. This pulse is very short and after it the current drops to almost zero level - as soon as ions have reached the cell walls, they are stopped, because the cell walls are not permeable for ions (or, at least, the permeability is too low to create measurable electric current).

While the outer electric field is on, cations gather at one end of the cell (the one, that is closer to cathode) and anions gather at the other end of cell - the cell is polarized.

Mechanism for transfer of alternating current is different. If alternating electric field is switched on, the ions start to move to the appropriate electrodes, as well, but the polarity of the outer field changes to the opposite one while they haven't yet reached the cell walls therefore the ions start to move in the opposite direction, then polarity changes again and so on.

If the frequency of alternating field is high enough and ions don't reach cell walls in a half-period's time, nothing interferes the motion of ions and therefore the conductivity for alternating current is high. In other words, living cell acts as a condenser - it is closed for DC, but open for AC.

It is possible to use the difference in the mechanisms of AC and DC transfer for judging about the state of cell membranes. If a liquid, containing living cells has to be investigated, one can measure the conductivity of solution for AC and for DC. If the cell membranes are intact, the conductivity, as it was described before, will be high for AC and low for DC. If the cell membranes are broken, there will be no difference in the conductivities for AC and DC.

V.2. PHYSIOLOGICAL EFECT OF CATHODE AND ANODE

In some of the physiotherapy procedures, electrodes are placed on a patient's skin and the electric field is switched on. The physiological effects of cathode and anode are different.

Effect of cathode.

As soon as electric field is switched on, all positive ions start motion to cathode. The most common positive ions in biological objects are H+, K+, Na+, Ca2+ and Mg2+.

As the univalent ions are much more mobile, than the polyvalent ones, therefore they reach cathode zone first and a relative excess of univalent positive ions is formed under cathode. The presence of K+, Na+ and H+ ions under cathode increase the permeability of the cell wall and it becomes permeable to substances, for which it is not permeable without electric field.

For this reason cathode can be used for infusion of medicine into cells - the solution of medicine has to be smeared on the skin of patient under the cathode.

Effect of anode.

As it was already said, the univalent metal ions, that are more mobile, are quickly shifted towards cathode, if electric field is switched on. As bivalent metal ions Ca2+ and Mg2+ are less mobile, an excess of Ca2+ and Mg2+ ions in the anode zone is formed after the univalent ions escape. Excess of bivalent cations in the anode zone causes a decrease of the permeability of cell membranes in this zone. This phenomenon is used to alleviate pains during the treatment of consequences of traumas and to fight with inflammations, for instance, after pneumonia. As the cell membranes are closed in anode zone (their permeability is lowered), cell is "left alone" and can slowly restore its normal condition.

Besides these direct actions of cathode and anode, pH is changed during electro therapy - H+ ions move to cathode and OH- ions - to anode - circulation processes of biological liquids are intensified, which results in faster liquidation of inflammation.